## Sheet1
GARMENTS FACTORY ELECTRICITY USAGE
Type | Quantity | Power (W) | Total Power (W) | Operating hours (h/y) | Operating hours (h/month) | Used KWhr/month | Load type | Fixed Consumptions
Light bulbs | 150 | 20 | 3000 | 3000 | 250 | 750 | R
Computer | 10 | 500 | 5000 | 3000 | 250 | 1250 | RLC
Exhaust fan | 10 | 210 | 2100 | 3000 | 250 | 525 | RL
Stand fan | 3 | 350 | 1050 | 1560 | 130 | 136.5 | RL
Needle detector machine | 1 | 150 | 150 | 1500 | 125 | 18.75 | RL | Cutting and Sewing Section
Iron table machine | 60 | 550 | 33000 | 1250 | 104.1667 | 3437.5 | RL
Hydraulic machine | 1 | 2000 | 2000 | 600 | 50 | 100 | RL
Bend knife machine | 3 | 1120 | 3360 | 1750 | 145.8333 | 490 | RL
Sewing machines | 50 | 180 | 9000 | 1500 | 125 | 1125
Air compressor | 1 | 11000 | 11000 | 1500 | 125 | 1375 | RL | Quality Control Section
Boiler | 1 | 536 | 536 | 1750 | 145.8333 | 78.1667 | RL
Air conditioning | 1 | 610 | 610 | 2920 | 243.3333 | 148.4333 | RL
|  | Total peak load (W) | 70806 |  | Total kWhr/month | 9434.35 | Total Bill per Month (BDT) | 87828.045
[5 empty] | pf difference | 0.0482
|  | Lowest pf | 0.9018 |  | pf penalty kWhr/month | 341.0518
[5 empty] | pf penalty (BDT) | 2915.9925
|  |  |  | Tariff Rate (BDT) | 8.55
|  |  |  | Demand Rate BDT/kW . Month | 60
|  |  |  | p.f. correction penalty | 0.75